## Slide 1
Radial flow to a confined aquifer
From Mays, 2011, Ground and Surface Water Hydrology
Notes: Work example 4.2.1 and 4.2.2

## Slide 2
Radial flow to a confined aquifer
From Mays, 2011, Ground and Surface Water Hydrology
In the above figure and equations, transmissivity is represented by
A ; B Q; C Kb; D h-hw; E None of the options
Notes: Work example 4.2.1 and 4.2.2

## Slide 3
Radial flow to a confined aquifer
From Mays, 2011, Ground and Surface Water Hydrology
The well labeled A is a
A Artesian well; B Flowing well; C Observation well; D Fracking well; E None of the options
A
Notes: Work example 4.2.1 and 4.2.2

## Slide 4
Radial flow to a confined aquifer
From Mays, 2011, Ground and Surface Water Hydrology
The piezometric surface is labeled
A B C D E
A
C
D
B
E
Notes: Work example 4.2.1 and 4.2.2

## Slide 5
Radial flow to a confined aquifer
From Mays, 2011, Ground and Surface Water Hydrology
The drawdown is denoted by
A r; B h; C s; D b; E Kb;
Notes: Work example 4.2.1 and 4.2.2

## Slide 6
The Dupoit assumptions mean
The groundwater flow is in a straight line
The groundwater flow is horizontal
The groundwater flow is radial to a confined aquifer
The groundwater flow has Reynolds number less than 1
Apply only to unconfined aquifers
Notes: Work example 4.2.1 and 4.2.2

## Slide 7
Radial Flow to an Unconfined Aquifer
From Mays, 2011, Ground and Surface Water Hydrology
A well penetrates an unconfined aquifer. The initial water level is ho=25 m. After a long period of pumping at 0.05 m3/s, the drawdowns at 50 and 150 m from the well were observed to be 3 and 1.2 m respectively.
Compute the hydraulic conductivity and radius of influence
What type of deposit is the aquifer
If rw=0.5 m, what is the drawdown at the well
If the water height in the well is hw= 10 m, what are the head losses at the well
What is the drawdown at 500 m.
Notes: Work example 4.2.3

## Slide 8
Figure 3.2.2
Range of Values of Hydraulic Conductivity
From Mays, 2011, Ground and Surface Water Hydrology

## Slide 9
Radial Flow to an Unconfined Aquifer with Recharge
From Mays, 2011, Ground and Surface Water Hydrology
Example 4.2.5.
A pumping well is used to maintain a lowered water table at a construction site. 25 cm dia well. K=0.864 m/day, W=0.06 m/day. Water table must be lowered 3 m over the site that is 50 m square.
Notes: Work example 4.2.5