## Slide 1: Trial and Error: Water Distribution Pipeline in Tuni Grande, Peru
Scout Mendenhall

## Slide 2: Tuni Grande, Peru
Engineers Without Borders project
The Chijnaya Foundation
Southern Peru, district of Pucara
Small farming community, ~300 people

## Slide 3: Tuni Grande, Peru
3000 L storage tank
90+ connections
Inefficient distribution system
Uneven water supply

## Slide 4: Need: Map of Distribution System

## Slide 5: Data
Team traveled to Peru, August 2010
Collected GPS coordinates
Used laser level to determine elevation differences
Data points in Excel

## Slide 6: Solution: ArcGIS?
Slope
Distance
Network Analysis

## Slide 7: Importing Data into ArcGIS

## Slide 8: Importing into ArcGIS
GPS Coordinates written as positive latitude, negative longitude
Should be negative latitude and longitude

## Slide 9: Creating a Pipeline

## Slide 10: Creating a Pipeline (2)

## Slide 11: Creating a Pipeline (3)

## Slide 12: Creating a Pipeline (for real this time)

## Slide 13: Comparing Measurements
Line Segment | Curved Earth Distance (m) | ArcGIS Split Line (?) | ArcGIS Measure Tool (m)
Well to Storage Tank | 285.9653 | 0.00263 | 285.4536
Length of Culvert | 21.78751 | 0.000201 | 21.76825
Curved Earth Distance = R cos-1[sinɸasinɸb+cosɸacosɸbcos(λa-λb)]

## Slide 14: Conclusions
Data collection better left to the data-set pros
Requires “doctoring the data” prior to importing xy data
Difficult to manipulate data within ArcGIS
ArcGIS was not the best solution

## Slide 15: Continuing Work
Determine distances between remaining data points
Explore digital elevation data (NASA)
Add contours
Add pop-up pictures to map

## Slide 16: Questions?