## Slide 1: Water resources In Iron and Washington Counties
An Alternative to the Lake Powell Pipeline Project
Jesse Pope
CEE 6440

## Slide 2: Population Projections
Chart: Washington County
| 2010 | 2020 | 2030 | 2040 | 2050 | 2060
Washington County | 138115 | 196762 | 280558 | 371743 | 472567 | 581731
Chart: Central Iron County
| 2010 | 2015 | 2020 | 2025 | 2030 | 2040 | 2050 | 2060
CICWCD | 5189 | 12381 | 13802 | 15222 | 16777 | 19815 | 22111 | 25317

## Slide 3: Water Demand Projections
Chart: Washington County
| 2010 | 2020 | 2030 | 2040 | 2050 | 2060
Potable Water Supply (AFY) | 72560 | 72560 | 72560 | 72560 | 72560 | 72560
Water Demand (AFY) | 42702.8033 | 60835.4558 | 86743.7504 | 114936.5978 | 146109.6597 | 179861.3073
Chart: Central Iron County
| 2010 | 2015 | 2020 | 2025 | 2030 | 2040 | 2050 | 2060
Potable Water Supply (AFY) | 5250 | 5250 | 5250 | 5250 | 5250 | 5250 | 5250 | 5250
Water Demand (AFY) | 1264.9199 | 3018.1102 | 3364.5066 | 3710.6593 | 4089.7209 | 4830.2926 | 5389.9874 | 6171.5124

## Slide 4: Lake Powell Pipeline Project
Diverts nearly 80,000 AFY from Lake Powell to Washington and Iron Counties
Approximately 180 miles of pipeline will be used
Total Cost = $1.5 Billion Dollars

## Slide 5: Alternative Water Sources
Water Reuse
  Washington County reuses 3,900 acre-feet per year
Agricultural Water Transfers

## Slide 6: Agricultural Water Transfers
4.5 acre-feet of water is used to irrigate one acre of crop in Washington County every year.
1.7 acre-feet of water is used to irrigate one acre of crop in Iron County every year

## Slide 7: Central Iron County Water Conservancy District

## Slide 8: Agricultural Water Use Maps

## Slide 9: Well Water Use

## Slide 10: Well Water Use

## Slide 11: Combine Water Sources
A total of 5480 AFY of potable water will be available in 2060.
This is less than the estimated 6200 AFY water demand.

## Slide 12: Combine Water Sources
In total, Washington and Central Iron Counties combined have enough water to support both populations.
Cedar Valley Pipeline Proposal will carry water from Washington County to Iron County.

## Slide 13: Questions?